| 091-194-IND-WT-XX | Status Center in Watertight Housing |
| --- | --- |

WATERTIGHT DIGITAL DISPLAY

A Kussmaul Model #091-194-IND-WT-XX Auto Charge Status Center shall be installed.   The watertight unit shall provide LED digital voltage and amperage readout.   The right side of the display shall have a five segment bar graph indicating output current.  The left side of the display shall have four (4) LED color coded lights shall indicate battery condition.    The color of the housing shall be:   (yellow) (white) (red) (gray) (blue) (black). Indicator may be used with the Auto Charge 1200, Auto Charge 1200 Remote, Pump Plus 1200 and LPC 40.